## Metadata
This file contains the measured concentrations of insecticide solutions used in the dietary bioassays
These data were used in Table S3, S4, S17, and S18
Each tab corresponds to an insecticide. BCF = beta-cyfluthrin, CTR = chlorantraniliprole, CFS = chlorpyrifos, IMI = imidacloprid, TMX = thiamethoxam, and CDN = clothianidin
The method of analyses have been described in the paper

## BCF
Stock in EtAc and diluted in EtAc
ppb | area cts | Back calculated
0 | 0 | 3.8704
0 | 0 | 3.8704
1.25 | 1072838.72 | 4.9012
1.25 | 1185735.48 | 5.0096
2.5 | 1864896.28 | 5.6621
2.5 | 2084742.14 | 5.8733
5 | 3995998.2 | 7.7095
5 | 4190252.32 | 7.8961
12.5 | 7709217.24 | 11.2769
12.5 | 9775319.22 | 13.2619
25 | 18359999.12 | 21.5095
25 | 20980899.88 | 24.0274
50 | 56606342.58 | 58.2539 | Equation for |  | y = | 1040874.33 | x+ | -4028646.64
50 | 62447054.06 | 63.8653 | Standard curve
125 | 132202085.79 | 130.8811 | Eq for meas. |  |  | ng = (area cts + | 4028646.64 | )
125 | 154450825.12 | 152.2561 | ng |  |  | 1040874.33
250 | 301201694.04 | 293.2442
250 | 332487865.8 | 323.3018 | [6 empty] | Sample ID | Average in mg/mL | Std Dev in mg/mL | Average Recovery | % RSD
500 |  | 3.8704 | [6 empty] | 10mg/mL | 20.6119 | 0.88912 | 206.1% | 4.314%
500 | 658629010.33 | 636.6356 | [6 empty] | 1mg/mL | 0.21046 | 0.13485 | 21.05% | 64.07%
[9 empty] | 0.316mg/mL | 0.090192 | 0.032977 | 28.54% | 36.56%
[9 empty] | 0.1mg/mL | 0.021466 | 0.0088798 | 21.47% | 41.37%
ID |  | area cts | ppb | ppm | dil factor | ppm | mg/mL | % recovery | 0.01mg/mL | 0.0027101 | 0.00037363 | 27.1% | 13.79%
10mg/mL rep1 |  | 445286139.16 | 431.6705 | 0.43167 | 50100 | 21626.6941 | 21.6267 | 216.3% | 0.001mg/mL | 0.00034314 | 8.8295e-05 | 34.31% | 25.73%
10mg/mL rep2 |  | 416463661.77 | 403.9799 | 0.40398 | 50100 | 20239.393 | 20.2394 | 202.4% | 0.0001mg/mL | 4e-05 | 1.101e-06 | 43.97% | 2.504%
10mg/mL rep3 |  | 410859077.62 | 398.5954 | 0.3986 | 50100 | 19969.6297 | 19.9696 | 199.7%
1mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 69386831.71 | 70.5325 | 0.070533 | 5100 | 359.7158 | 0.35972 | 35.97%
1mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 31535278.06 | 34.1674 | 0.034167 | 5100 | 174.2535 | 0.17425 | 17.43%
1mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 15851104.24 | 19.0991 | 0.019099 | 5100 | 97.4054 | 0.097405 | 9.741%
0.316mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 15909701.53 | 19.1554 | 0.019155 | 5100 | 97.6925 | 0.097692 | 30.92%
0.316mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 20211871.48 | 23.2886 | 0.023289 | 5100 | 118.7719 | 0.11877 | 37.59%
0.316mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 7014945.63 | 10.6099 | 0.01061 | 5100 | 54.1106 | 0.054111 | 17.12%
0.1mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 4667509.4 | 8.3547 | 0.0083547 | 2100 | 17.5448 | 0.017545 | 17.54%
0.1mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 11649648.54 | 15.0626 | 0.015063 | 2100 | 31.6315 | 0.031632 | 31.63%
0.1mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 3516174.99 | 7.2485 | 0.0072485 | 2100 | 15.2219 | 0.015222 | 15.22%
0.01mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 2405052.26 | 6.1811 | 0.0061811 | 500 | 3.0905 | 0.0030905 | 30.91%
0.01mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 1584011.01 | 5.3923 | 0.0053923 | 500 | 2.6961 | 0.0026961 | 26.96%
0.01mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 850266.55 | 4.6873 | 0.0046873 | 500 | 2.3437 | 0.0023437 | 23.44%
0.001mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 3577753.3 | 7.3077 | 0.0073077 | 50 | 0.36539 | 0.00036539 | 36.54%
0.001mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 1089288.42 | 4.917 | 0.004917 | 50 | 0.24585 | 0.00024585 | 24.58%
0.001mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 4676847.35 | 8.3636 | 0.0083636 | 50 | 0.41818 | 0.00041818 | 41.82%
0.0001mg/mL rep1 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 630030.98 | 4.4757 | 0.0044757 | 10 | 0.044757 | 4.4757e-05 | 44.76%
0.0001mg/mL rep2 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 417254.54 | 4.2713 | 0.0042713 | 10 | 0.042713 | 4.2713e-05 | 42.71%
0.0001mg/mL rep3 | 10^-3mg/mL 1ppm EA/SW (N) shot as is | 597434.74 | 4.4444 | 0.0044444 | 10 | 0.044444 | 4.4444e-05 | 44.44%
Note on G16: in this box enter the value from equation above
Note on I16: in this box enter value from equation above

## CTR
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Chlorantraniliprole |  | Linear | Equal | Ignore | Y = 7177.17+211605*X R^2 = 0.9998
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
Cal1_1ppb_Stock | Std Bracket Sample |  | Method Settings | 210165.7736 | NA | NA | 1 | 0.95928 | -4.072% | 0% | Response Low | 1 | ng/ml | 6.4247 | Cal1_1ppb_Stock
Cal2_2ppb_Stock | Std Bracket Sample |  | Method Settings | 428966.0894 | NA | NA | 2 | 1.9933 | -0.3356% | 0% |  | 2 | ng/ml | 6.4248 | Cal2_2ppb_Stock
Cal3_5ppb_Stock | Std Bracket Sample |  | Method Settings | 1042746.2149 | NA | NA | 5 | 4.8939 | -2.122% | 0% |  | 3 | ng/ml | 6.4248 | Cal3_5ppb_Stock
Cal4_10ppb_Stock | Std Bracket Sample |  | Method Settings | 2104821.4814 | NA | NA | 10 | 9.913 | -0.8696% | 0% |  | 4 | ng/ml | 6.4248 | Cal4_10ppb_Stock
Cal5_15ppb_Stock | Std Bracket Sample |  | Manual Integration | 3178472.9758 | NA | NA | 15 | 14.9869 | -0.08735% | 0% |  | 5 | ng/ml | 6.4247 | Cal5_15ppb_Stock
Cal6_20ppb_Stock | Std Bracket Sample |  | Manual Integration | 4329129.8727 | NA | NA | 20 | 20.4247 | 2.123% | 0% |  | 6 | ng/ml | 6.4248 | Cal6_20ppb_Stock
Cal7_40ppb_Stock | Std Bracket Sample |  | Manual Integration | 8435162.2241 | NA | NA | 40 | 39.8289 | -0.4277% | 0% |  | 7 | ng/ml | 6.4248 | Cal7_40ppb_Stock
Solvent1 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent1
Solvent10 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent10
Solvent11 | Blank Sample |  | Method Settings | 379.4561 | NA | NA | NA | -0.032125 | NA | NA | Response Low | NA | ng/ml | 6.4297 | Solvent11
Solvent12 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent12
Solvent2 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent2
Solvent3 | Blank Sample |  | Method Settings | 1023.662 | NA | NA | NA | -0.02908 | NA | NA | Response Low | NA | ng/ml | 6.4298 | Solvent3
Solvent4 | Blank Sample |  | Method Settings | 1857.4336 | NA | NA | NA | -0.02514 | NA | NA | Response Low | NA | ng/ml | 6.4198 | Solvent4
Solvent5 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent5
Solvent6 | Blank Sample |  | Method Settings | 662.4901 | NA | NA | NA | -0.030787 | NA | NA | Response Low | NA | ng/ml | 6.4348 | Solvent6
Solvent7 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent7
Solvent8 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent8
Solvent9 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent9
CTR1_10ppb | Unknown Sample |  | Method Settings | 291621.843 | NA | NA | NA | 1.3442 | NA | NA |  | NA | ng/ml | 6.4247 | CTR1_10ppb
CTR2_10ppb | Unknown Sample |  | Method Settings | 1320104.3352 | NA | NA | NA | 6.2046 | NA | NA |  | NA | ng/ml | 6.4248 | CTR2_10ppb
CTR3_10ppb | Unknown Sample |  | Method Settings | 1328292.2402 | NA | NA | NA | 6.2433 | NA | NA |  | NA | ng/ml | 6.4248 | CTR3_10ppb
CTR4_10ppb | Unknown Sample |  | Method Settings | 1032609.1715 | NA | NA | NA | 4.846 | NA | NA |  | NA | ng/ml | 6.4248 | CTR4_10ppb
CTR5_10ppb | Unknown Sample |  | Method Settings | 939086.4048 | NA | NA | NA | 4.404 | NA | NA |  | NA | ng/ml | 6.4248 | CTR5_10ppb
CTR6_10ppb | Unknown Sample |  | Method Settings | 1487570.2584 | NA | NA | NA | 6.996 | NA | NA |  | NA | ng/ml | 6.4248 | CTR6_10ppb
CTR7_10ppb | Unknown Sample |  | Method Settings | 2286088.8754 | NA | NA | NA | 10.7697 | NA | NA |  | NA | ng/ml | 6.4298 | CTR7_10ppb

## CFS
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Chlorpyrifos |  | Linear | Equal | Ignore | Y = -31205.1+72531.5*X R^2 = 0.9988
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | Actual amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
Cal1_1ppb_Stock | Std Bracket Sample |  | Method Settings | 46136.6051 | NA | NA | 1 | 1.0663 |  | 6.632% | 0% |  | 1 | ng/ml | 6.1922 | Cal1_1ppb_Stock
Cal2_2ppb_Stock | Std Bracket Sample |  | Method Settings | 123626.915 | NA | NA | 2 | 2.1347 |  | 6.734% | 0% |  | 2 | ng/ml | 6.1921 | Cal2_2ppb_Stock
Cal3_5ppb_Stock | Std Bracket Sample |  | Method Settings | 327462.2575 | NA | NA | 5 | 4.945 |  | -1.1% | 0% |  | 3 | ng/ml | 6.1922 | Cal3_5ppb_Stock
Cal4_10ppb_Stock | Std Bracket Sample |  | Method Settings | 646100.9081 | NA | NA | 10 | 9.3381 |  | -6.619% | 0% |  | 4 | ng/ml | 6.1921 | Cal4_10ppb_Stock
Cal5_15ppb_Stock | Std Bracket Sample |  | Manual Integration | 1078991.4563 | NA | NA | 15 | 15.3064 |  | 2.043% | 0% |  | 5 | ng/ml | 6.1922 | Cal5_15ppb_Stock
Cal6_20ppb_Stock | Std Bracket Sample |  | Manual Integration | 1450781.204 | NA | NA | 20 | 20.4323 |  | 2.162% | 0% |  | 6 | ng/ml | 6.1922 | Cal6_20ppb_Stock
Cal7_30ppb_Stock | Std Bracket Sample |  | Method Settings | 2128581.1672 | NA | NA | 30 | 29.7772 |  | -0.7426% | 0% |  | 7 | ng/ml | 6.1922 | Cal7_30ppb_Stock
Solvent1 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent1
Solvent10 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent10
Solvent2 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent2
Solvent3 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent3
Solvent4 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent4
Solvent5 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent5
Solvent6 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent6
Solvent7 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent7
Solvent8 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent8
Solvent9 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent9
CFS1S | Unknown Sample |  | Method Settings | 19353.8605 | NA | NA | NA | 6.9706 | 6.9706 | NA | NA |  | NA | ng/ml | 6.1921 | CFS1S
CFS2S | Unknown Sample |  | Method Settings | 20863.7512 | NA | NA | NA | 71.7879 | 71.7879 | NA | NA | Response High | NA | ng/ml | 6.1922 | CFS2S
CFS3S | Unknown Sample |  | Method Settings | 165900.7192 | NA | NA | NA | 2717.5192 | 2717.5192 | NA | NA | Response High | NA | ng/ml | 6.1972 | CFS3S
CFS4S | Unknown Sample |  | Method Settings | 66149.9654 | NA | NA | NA | 13422.4457 | 13422.4457 | NA | NA | Response High | NA | ng/ml | 6.1972 | CFS4S
CFS5S-20000dil | Unknown Sample |  | Method Settings | 50765.6843 | NA | NA | NA | 1.1301 | 22602.7961 | NA | NA |  | NA | ng/ml | 6.1921 | CFS5S
CFS6S-100000dil | Unknown Sample |  | Method Settings | 114194.9174 | NA | NA | NA | 2.0046 | 200464.5599 | NA | NA |  | NA | ng/ml | 6.1922 | CFS6S
CFS7S-200000dil | Unknown Sample |  | Method Settings | 165434.0206 | NA | NA | NA | 2.7111 | 542216.9474 | NA | NA |  | NA | ng/ml | 6.1922 | CFS7S
CFS8S-1000000dil | Unknown Sample |  | Method Settings | 925360.5238 | NA | NA | NA | 13.1883 | 13188274.8149 | NA | NA |  | NA | ng/ml | 6.1921 | CFS8S

## IMI
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Imidacloprid |  | Linear | 1/X | Ignore | Y = 63944.6+375408*X R^2 = 0.9994
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | Calculations | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
Cal1_1ppb_Stock | Std Bracket Sample |  | Method Settings | 371561.3462 | NA | NA | 1 | 0.81942 |  | -18.06% | NA | Excluded | 1 | ng/ml | 4.4173 | Cal1_1ppb_Stock
Cal2_2ppb_Stock | Std Bracket Sample |  | Method Settings | 767793.3512 | NA | NA | 2 | 1.8749 |  | -6.255% | 0% | Response Low | 2 | ng/ml | 4.4123 | Cal2_2ppb_Stock
Cal3_5ppb_Stock | Std Bracket Sample |  | Method Settings | 1920102.5153 | NA | NA | 5 | 4.9444 |  | -1.112% | 0% |  | 3 | ng/ml | 4.4122 | Cal3_5ppb_Stock
Cal4_10ppb_Stock | Std Bracket Sample |  | Method Settings | 3920801.8368 | NA | NA | 10 | 10.2738 |  | 2.738% | 0% |  | 4 | ng/ml | 4.4123 | Cal4_10ppb_Stock
Cal5_20ppb_Stock | Std Bracket Sample |  | Method Settings | 7903055.023 | NA | NA | 20 | 20.8816 |  | 4.408% | 0% |  | 5 | ng/ml | 4.4122 | Cal5_20ppb_Stock
Cal6_50ppb_Stock | Std Bracket Sample |  | Method Settings | 19381198.0603 | NA | NA | 50 | 51.4567 |  | 2.913% | 0% |  | 6 | ng/ml | 4.4173 | Cal6_50ppb_Stock
Cal7_80ppb_Stock | Std Bracket Sample |  | Method Settings | 29706297.6022 | NA | NA | 80 | 78.9604 |  | -1.299% | 0% |  | 7 | ng/ml | 4.4172 | Cal7_80ppb_Stock
Cal8_100ppb_Stock | Std Bracket Sample |  | Method Settings | 37082253.6285 | NA | NA | 100 | 98.6083 |  | -1.392% | 0% |  | 8 | ng/ml | 4.4122 | Cal8_100ppb_Stock
Silwet_01% | Blank Sample |  | Method Settings | 8684394.0067 | NA | NA | NA | 22.9629 |  | NA | NA |  | NA | ng/ml | 4.4223 | Silwet_01%
Solvent1 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent1
Solvent10 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent10
Solvent2 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent2
Solvent3 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent3
Solvent4 | Blank Sample |  | Method Settings | 2693.6895 | NA | NA | NA | -0.16316 |  | NA | NA | Response Low | NA | ng/ml | 4.3922 | Solvent4
Solvent5 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent5
Solvent6 | Blank Sample |  | Method Settings | 1847.9 | NA | NA | NA | -0.16541 |  | NA | NA | Response Low | NA | ng/ml | 4.4023 | Solvent6
Solvent7 | Blank Sample |  | Method Settings | 2119.9243 | NA | NA | NA | -0.16469 |  | NA | NA | Response Low | NA | ng/ml | 4.3873 | Solvent7
Solvent8 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent8
Solvent9 | Blank Sample |  | Method Settings | 650.5969 | NA | NA | NA | -0.1686 |  | NA | NA | Response Low | NA | ng/ml | 4.3923 | Solvent9
IMI1_5ppb | Unknown Sample |  | Method Settings | 2773302.1436 | NA | NA | NA | 144.3421 | 144.342-22.963=121.379 ppb | NA | NA | Response High | NA | ng/ml | 4.4172 | IMI1_5ppb
IMI2_50ppb | Unknown Sample |  | Method Settings | 35920913.214 | NA | NA | NA | 1910.2941 | 1910.294-22.9630=1887.331 ppb | NA | NA | Response High | NA | ng/ml | 4.4123 | IMI2_50ppb
IMI3_50ppb | Unknown Sample |  | Method Settings | 28836962.0854 | NA | NA | NA | 15328.9385 | 15328.939-22.963=15328.939 ppb | NA | NA | Response High | NA | ng/ml | 4.4123 | IMI3_50ppb
IMI4_31-6ppb | Unknown Sample |  | Method Settings | 16721597.1973 | NA | NA | NA | 44372.1505 | 44372.150-22.963=44372.150 ppb | NA | NA | Response High | NA | ng/ml | 4.4123 | IMI4_31-6ppb
IMI5_50ppb | Unknown Sample |  | Method Settings | 27311821.0462 | NA | NA | NA | 145164.136 | 145164.136-22.963=145164.136 ppb | NA | NA | Response High | NA | ng/ml | 4.4123 | IMI5_50ppb
IMI6_31-6ppb_20000dil | Unknown Sample |  | Method Settings | 13678364.9906 | NA | NA | NA | 362656.8071 | 362656.807-22.963=362656.807 ppb | NA | NA | Response High | NA | ng/ml | 4.4122 | IMI6_31-6ppb_20000dil
IMI7_50ppb_100000dil | Unknown Sample |  | Method Settings | 24970634.1869 | NA | NA | NA | 66.3457 | 66.346*20000-22.963=1326913.707 ppb | NA | NA |  | NA | ng/ml | 4.4173 | IMI7_50ppb_100000dil
IMI8_31-6ppb | Unknown Sample |  | Method Settings | 17875316.1586 | NA | NA | NA | 47.4454 | 47.445*100000-22.963=4744539.21 ppb | NA | NA |  | NA | ng/ml | 4.4122 | IMI8_31-6ppb
Note: Each IMI stock solution diluted prior to injection. Dilution series provided below. Values in red (see Table S3) after background correction for IMI (see row 13).

## TMX
Curve Index | Weighting Index | Origin Index | Equation
Linear | 1/X | Ignore | Y = 8673.73+543773*X R^2 = 0.9999
[5 empty] | Specified | Calculated
Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | Calculations | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
Cal1_1ppb_Stock | Method Settings | 534783.3751 | NA | NA | 1 | 0.96752 |  | -3.248% | 0% | Response Low | 1 | ng/ml | 3.9088 | Cal1_1ppb_Stock
Cal2_2ppb_Stock | Method Settings | 1080960.5018 | NA | NA | 2 | 1.9719 |  | -1.403% | 0% |  | 2 | ng/ml | 3.9038 | Cal2_2ppb_Stock
Cal3_5ppb_Stock | Method Settings | 2751987.2777 | NA | NA | 5 | 5.045 |  | 0.8992% | 0% |  | 3 | ng/ml | 3.9089 | Cal3_5ppb_Stock
Cal4_10ppb_Stock | Method Settings | 5529252.5679 | NA | NA | 10 | 10.1524 |  | 1.524% | 0% |  | 4 | ng/ml | 3.9038 | Cal4_10ppb_Stock
Cal5_20ppb_Stock | Method Settings | 11166758.9423 | NA | NA | 20 | 20.5197 |  | 2.599% | 0% |  | 5 | ng/ml | 3.9089 | Cal5_20ppb_Stock
Cal6_50ppb_Stock | Method Settings | 27338731.0259 | NA | NA | 50 | 50.26 |  | 0.52% | 0% |  | 6 | ng/ml | 3.9038 | Cal6_50ppb_Stock
Cal7_80ppb_Stock | Method Settings | 43568471.3503 | NA | NA | 80 | 80.1065 |  | 0.1332% | 0% |  | 7 | ng/ml | 3.8988 | Cal7_80ppb_Stock
Cal8_100ppb_Stock | Method Settings | 53829701.9605 | NA | NA | 100 | 98.977 |  | -1.023% | 0% |  | 8 | ng/ml | 3.9089 | Cal8_100ppb_Stock
Silwet_01% | Method Settings | 147889.7496 | NA | NA | NA | 0.25602 |  | NA | NA | Response Low | NA | ng/ml | 3.9139 | Silwet_01%
Solvent1 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent1
Solvent10 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent10
Solvent2 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent2
Solvent3 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent3
Solvent5 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent5
Solvent6 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent6
Solvent7 | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent7
Solvent8 | Manual Integration | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent8
Solvent9 | Method Settings | NF | NA | NF | NA | NF |  | NF | NF | Not Found | NA | ng/ml | NF | Solvent9
TMX1_5ppb | Method Settings | 2560467.695 | NA | NA | NA | 4.6928 | 4.693*20-0.256=93.604 ppb | NA | NA |  | NA | ng/ml | 3.9087 | TMX1_5ppb
TMX2_50ppb | Method Settings | 24435234.9168 | NA | NA | NA | 44.9205 | 44.920*20-0.256=898.144 ppb | NA | NA |  | NA | ng/ml | 3.9039 | TMX2_50ppb
TMX3_50ppb | Method Settings | 30017257.1994 | NA | NA | NA | 55.1858 | 55.186*200-0.256=11036.944 ppb | NA | NA |  | NA | ng/ml | 3.9037 | TMX3_50ppb
TMX4_31-6ppb | Method Settings | 18636842.6492 | NA | NA | NA | 34.2572 | 34.257*1000-0.256=34256.744 ppb | NA | NA |  | NA | ng/ml | 3.9038 | TMX4_31-6ppb
TMX5_50ppb | Method Settings | 26578016.7289 | NA | NA | NA | 48.8611 | 48.861*2000-0.256=97721.744 ppb | NA | NA |  | NA | ng/ml | 3.9087 | TMX5_50ppb
TMX6_31-6ppb | Method Settings | 18492405.5011 | NA | NA | NA | 33.9916 | 33.992*10000-0.256=339919.744 ppb | NA | NA |  | NA | ng/ml | 3.8987 | TMX6_31-6ppb
TMX7_50ppb | Method Settings | 32911757.1248 | NA | NA | NA | 60.5088 | 60.509*20000-0.256=1210179.744 ppb | NA | NA |  | NA | ng/ml | 3.9038 | TMX7_50ppb
TMX8_50ppb | Method Settings | 29681841.9541 | NA | NA | NA | 54.569 | 54.569*200000-0.256=5456900.077 ppb | NA | NA |  | NA | ng/ml | 3.9088 | TMX8_50ppb
Note: Each TMX stock solution was diluted before injection. Dilution series provided below. Values in red (see Table S3) after background correction for TMX (see row 13).

## CDN
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Chlothianidin |  | Linear | Equal | Ignore | Y = -62104.6+220135*X R^2 = 0.9997
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
Cal1_1ppb_Stock | Std Bracket Sample |  | Manual Integration | 183527.5393 | NA | NA | 1 | 1.1158 | 11.58% | 0% |  | 1 | ng/ml | 4.4817 | Cal1_1ppb_Stock
Cal2_2ppb_Stock | Std Bracket Sample |  | Method Settings | 399207.9405 | NA | NA | 2 | 2.0956 | 4.779% | 0% |  | 2 | ng/ml | 4.4818 | Cal2_2ppb_Stock
Cal3_5ppb_Stock | Std Bracket Sample |  | Method Settings | 1038162.0249 | NA | NA | 5 | 4.9981 | -0.03719% | 0% |  | 3 | ng/ml | 4.4817 | Cal3_5ppb_Stock
Cal4_10ppb_Stock | Std Bracket Sample |  | Method Settings | 2173735.4481 | NA | NA | 10 | 10.1567 | 1.567% | 0% |  | 4 | ng/ml | 4.4818 | Cal4_10ppb_Stock
Cal5_15ppb_Stock | Std Bracket Sample |  | Method Settings | 3170054.5124 | NA | NA | 15 | 14.6826 | -2.116% | 0% |  | 5 | ng/ml | 4.4818 | Cal5_15ppb_Stock
Cal6_20ppb_Stock | Std Bracket Sample |  | Method Settings | 4231834.2044 | NA | NA | 20 | 19.5059 | -2.47% | 0% |  | 6 | ng/ml | 4.4818 | Cal6_20ppb_Stock
Cal7_30ppb_Stock | Std Bracket Sample |  | Manual Integration | 6646343.7301 | NA | NA | 30 | 30.4742 | 1.581% | 0% |  | 7 | ng/ml | 4.4818 | Cal7_30ppb_Stock
Cal8_50ppb_Stock | Std Bracket Sample |  | Method Settings | 10938276.5637 | NA | NA | 50 | 49.971 | -0.05794% | 0% |  | 8 | ng/ml | 4.4818 | Cal8_50ppb_Stock
Silwet_01% | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Silwet_01%
Solvent1 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent1
Solvent10 | Blank Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent10
Solvent2 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent2
Solvent3 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent3
Solvent4 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent4
Solvent5 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent5
Solvent6 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent6
Solvent7 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent7
Solvent8 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent8
Solvent9 | Blank Sample |  | Manual Integration | NF | NA | NF | NA | NF | NF | NF | Not Found | NA | ng/ml | NF | Solvent9
CDN1_10ppb | Unknown Sample |  | Method Settings | 1071205.0498 | NA | NA | NA | 5.1482 | NA | NA |  | NA | ng/ml | 4.4767 | CDN1_10ppb
CDN2_10ppb | Unknown Sample |  | Method Settings | 1385955.7553 | NA | NA | NA | 6.5781 | NA | NA |  | NA | ng/ml | 4.4817 | CDN2_10ppb
CDN3_10ppb | Unknown Sample |  | Method Settings | 1650454.8758 | NA | NA | NA | 7.7796 | NA | NA |  | NA | ng/ml | 4.4767 | CDN3_10ppb
CDN4_31-6ppb | Unknown Sample |  | Method Settings | 5524960.6346 | NA | NA | NA | 25.3802 | NA | NA |  | NA | ng/ml | 4.4817 | CDN4_31-6ppb
CDN5_10ppb | Unknown Sample |  | Method Settings | 2087157.5684 | NA | NA | NA | 9.7634 | NA | NA |  | NA | ng/ml | 4.4817 | CDN5_10ppb
CDN6_31-6ppb | Unknown Sample |  | Method Settings | 4306338.6577 | NA | NA | NA | 19.8444 | NA | NA |  | NA | ng/ml | 4.4766 | CDN6_31-6ppb
CDN7_10ppb | Unknown Sample |  | Method Settings | 927189.4275 | NA | NA | NA | 4.494 | NA | NA |  | NA | ng/ml | 4.4818 | CDN7_10ppb
CDN8_10ppb | Unknown Sample |  | Method Settings | 4269369.9483 | NA | NA | NA | 19.6764 | NA | NA |  | NA | ng/ml | 4.4817 | CDN8_10ppb